## FI
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI
B | H1,H2,H3 | Reagent Name: Background0 | 109 | 108.8 | 76.7 | 30.3 | 85.2 | 196.2 | 65.2 | 237.7 | 274 | 117.7
S1 | A1,A2,A3 | Reagent Name: Standard1 | 67619.5 | 15385.5 | 25550.5 | 25058.7 | 89434.5 | 66451.2 | 96222 | 96652 | 26292.2 | 5810.2
S2 | B1,B2,B3 | Reagent Name: Standard2 | 40085.8 | 14020.5 | 20804 | 18810.8 | 71494 | 40908.3 | 65252.2 | 84053.7 | 23302.2 | 4674.5
S3 | C1,C2,C3 | Reagent Name: Standard3 | 16355.8 | 12739.5 | 12593.2 | 7170.2 | 37688 | 18736 | 34605.5 | 60186.5 | 21411.3 | 4159.7
S4 | D1,D2,D3 | Reagent Name: Standard4 | 3796 | 6883.3 | 3811.3 | 1221.5 | 10493.5 | 7062.3 | 10553.3 | 31069.7 | 16545 | 1723
S5 | E1,E2,E3 | Reagent Name: Standard5 | 836.3 | 1376.8 | 821.7 | 230.5 | 2138.7 | 1945.8 | 2069.2 | 11996.3 | 7534 | 544
S6 | F1,F2,F3 | Reagent Name: Standard6 | 270.2 | 308 | 218.3 | 69.8 | 507 | 666.7 | 410.2 | 4064.3 | 2559.5 | 242.7
S7 | G1,G2,G3 | Reagent Name: Standard7 | 150.3 | 149.7 | 121.2 | 37.5 | 190 | 312.3 | 149.8 | 1318 | 991.7 | 153.3
X1 | A4,A5,A6 | Sample ID: Unknown1 | 680.3 | 153.5 | 2895.7 | 30.3 | 101.2 | 1106.2 | 7669.3 | 49252.2 | 4807.5 | 142.5
X2 | B4,B5,B6 | Sample ID: Unknown2 | 5094 | 1145.8 | 2812 | 38 | 846.8 | 5613.2 | 92147.7 | 51796.5 | 6414.3 | 245
X3 | C4,C5,C6 | Sample ID: Unknown3 | 4573.7 | 1560.2 | 4596.5 | 35.2 | 3162.7 | 5207.7 | 94722.7 | 56412.5 | 6589.5 | 225.7
X4 | D4,D5,D6 | Sample ID: Unknown4 | 1855 | 411.7 | 4253.3 | 33.5 | 518.3 | 2714 | 94592 | 54364.2 | 6076.8 | 196.5
X5 | E4,E5,E6 | Sample ID: Unknown5 | 4876.7 | 4181.5 | 4461.5 | 42.5 | 6753.7 | 5225.2 | 93431.3 | 39305.8 | 7356.2 | 214.2
X6 | F4,F5,F6 | Sample ID: Unknown6 | 10738 | 8472.3 | 7588.3 | 62.8 | 20816.7 | 9150 | 94753.5 | 47407.5 | 8669.7 | 270.5
X7 | A7,A8,A9 | Sample ID: Unknown7 | 974.8 | 190.2 | 1303.3 | 32 | 605.7 | 1637.7 | 6426.8 | 66181.8 | 5867.2 | 132.7
X8 | B7,B8,B9 | Sample ID: Unknown8 | 4113.3 | 581.7 | 3111.2 | 44.3 | 7081.5 | 4550.5 | 92978 | 60425 | 9243.2 | 206.5
X9 | C7,C8,C9 | Sample ID: Unknown9 | 5123.5 | 893 | 3383.2 | 46.5 | 7850 | 5398.5 | 95249.3 | 54525.5 | 8618.2 | 207.3
X10 | D7,D8,D9 | Sample ID: Unknown10 | 2506 | 418.3 | 1481.8 | 32 | 2540.2 | 3246.8 | 91625 | 53441.5 | 8330 | 183.2
X11 | E7,E8,E9 | Sample ID: Unknown11 | 6811.8 | 1393.5 | 3867.5 | 42.3 | 10158.3 | 6565.3 | 93197 | 51308.5 | 9403.2 | 225
X12 | F7,F8,F9 | Sample ID: Unknown12 | 2250 | 492 | 1543 | 37.5 | 3221 | 2883.3 | 93204.8 | 54252.3 | 8178.5 | 179.2
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | FI | FI | FI | FI | FI | FI | FI | FI | FI | FI
B | H1 | Reagent Name: Background0 | 116 | 86.5 | 77.5 | 28 | 79 | 159 | 65 | 220.5 | 272 | 110.5
B | H2 | Reagent Name: Background0 | 108 | 97 | 73 | 31 | 74 | 162.5 | 62 | 186 | 243 | 107
B | H3 | Reagent Name: Background0 | 103 | 143 | 79.5 | 32 | 102.5 | 267 | 68.5 | 306.5 | 307 | 135.5
S1 | A1 | Reagent Name: Standard1 | 72362.5 | 16029.5 | 25527.5 | 25354.5 | 92724.5 | 69756.5 | 90603 | 99065.5 | 25861.5 | 6366.5
S1 | A2 | Reagent Name: Standard1 | 65813 | 14644 | 25389 | 24201.5 | 87674 | 66413 | 99435 | 95226 | 26542 | 5329
S1 | A3 | Reagent Name: Standard1 | 64683 | 15483 | 25735 | 25620 | 87905 | 63184 | 98628 | 95664.5 | 26473 | 5735
S2 | B1 | Reagent Name: Standard2 | 41715.5 | 13972 | 20373.5 | 19901 | 77851 | 41554 | 70482.5 | 84815 | 23325.5 | 5059
S2 | B2 | Reagent Name: Standard2 | 41692 | 14000.5 | 20708 | 19674.5 | 72939 | 43468 | 65629 | 84722 | 23578.5 | 4663
S2 | B3 | Reagent Name: Standard2 | 36850 | 14089 | 21330.5 | 16857 | 63692 | 37703 | 59645 | 82624 | 23002.5 | 4301.5
S3 | C1 | Reagent Name: Standard3 | 16831.5 | 12588.5 | 12431 | 7695 | 40586 | 19785 | 37426.5 | 60809 | 20650.5 | 4142.5
S3 | C2 | Reagent Name: Standard3 | 18125 | 13162 | 12933.5 | 8635 | 43353 | 20334 | 37865 | 65525 | 21711 | 4450
S3 | C3 | Reagent Name: Standard3 | 14111 | 12468 | 12415 | 5180.5 | 29125 | 16089 | 28525 | 54225.5 | 21872.5 | 3886.5
S4 | D1 | Reagent Name: Standard4 | 4043 | 7825 | 3953.5 | 1465 | 11811.5 | 7243.5 | 11549 | 32261 | 16397.5 | 1706
S4 | D2 | Reagent Name: Standard4 | 4000 | 7465 | 3996 | 1433 | 11893 | 7706 | 12096 | 31731 | 16672.5 | 1694
S4 | D3 | Reagent Name: Standard4 | 3345 | 5360 | 3484.5 | 766.5 | 7776 | 6237.5 | 8015 | 29217 | 16565 | 1769
S5 | E1 | Reagent Name: Standard5 | 809 | 1580 | 946 | 242.5 | 2253 | 2133 | 2419 | 11845 | 7572.5 | 519
S5 | E2 | Reagent Name: Standard5 | 943 | 1587.5 | 770 | 270 | 2487 | 1971.5 | 2239 | 13230 | 7470 | 558
S5 | E3 | Reagent Name: Standard5 | 757 | 963 | 749 | 179 | 1676 | 1733 | 1549.5 | 10914 | 7559.5 | 555
S6 | F1 | Reagent Name: Standard6 | 288 | 333 | 223 | 62.5 | 604 | 737 | 450 | 4655 | 2667 | 238
S6 | F2 | Reagent Name: Standard6 | 261 | 354 | 216 | 74 | 522 | 720 | 477.5 | 4308 | 2725.5 | 230
S6 | F3 | Reagent Name: Standard6 | 261.5 | 237 | 216 | 73 | 395 | 543 | 303 | 3230 | 2286 | 260
S7 | G1 | Reagent Name: Standard7 | 142 | 160 | 123.5 | 34.5 | 168 | 289 | 155 | 1234 | 900.5 | 141
S7 | G2 | Reagent Name: Standard7 | 173 | 135 | 127 | 36 | 191 | 319 | 138 | 1346.5 | 996 | 164
S7 | G3 | Reagent Name: Standard7 | 136 | 154 | 113 | 42 | 211 | 329 | 156.5 | 1373.5 | 1078.5 | 155
X1 | A4 | Sample ID: Unknown1 | 585 | 143.5 | 2915.5 | 33 | 102.5 | 1030 | 7619 | 47457 | 4707 | 146.5
X1 | A5 | Sample ID: Unknown1 | 632 | 162 | 2965 | 29 | 93 | 1113 | 7482.5 | 51285 | 4717 | 159
X1 | A6 | Sample ID: Unknown1 | 824 | 155 | 2806.5 | 29 | 108 | 1175.5 | 7906.5 | 49014.5 | 4998.5 | 122
X2 | B4 | Sample ID: Unknown2 | 4195 | 1108 | 2673 | 35 | 725 | 5302 | 79211 | 44632.5 | 6028 | 275
X2 | B5 | Sample ID: Unknown2 | 5060 | 1163 | 2944 | 42 | 899.5 | 5645 | 96183 | 53453 | 6632.5 | 240.5
X2 | B6 | Sample ID: Unknown2 | 6027 | 1166.5 | 2819 | 37 | 916 | 5892.5 | 101049 | 57304 | 6582.5 | 219.5
X3 | C4 | Sample ID: Unknown3 | 4214 | 1482.5 | 4404.5 | 33 | 3020 | 5093 | 94730 | 56762 | 6537.5 | 217
X3 | C5 | Sample ID: Unknown3 | 4541 | 1685 | 4884 | 28.5 | 3072.5 | 5302 | 93370 | 58618.5 | 6428.5 | 245
X3 | C6 | Sample ID: Unknown3 | 4966 | 1513 | 4501 | 44 | 3395.5 | 5228 | 96068 | 53857 | 6802.5 | 215
X4 | D4 | Sample ID: Unknown4 | 1823 | 377 | 4201 | 34.5 | 491 | 2654 | 93370 | 54514 | 5709 | 176
X4 | D5 | Sample ID: Unknown4 | 1813 | 446 | 4202 | 37 | 542 | 2779 | 94603.5 | 54122 | 6439.5 | 204
X4 | D6 | Sample ID: Unknown4 | 1929 | 412 | 4357 | 29 | 522 | 2709 | 95802.5 | 54456.5 | 6082 | 209.5
X5 | E4 | Sample ID: Unknown5 | 4530 | 4032 | 4321.5 | 34.5 | 6066 | 5080 | 89035 | 38683.5 | 7120 | 223
X5 | E5 | Sample ID: Unknown5 | 4941.5 | 4154.5 | 4497 | 46 | 7068.5 | 5285.5 | 94269 | 38879 | 7363.5 | 209.5
X5 | E6 | Sample ID: Unknown5 | 5158.5 | 4358 | 4566 | 47 | 7126.5 | 5310 | 96990 | 40355 | 7585 | 210
X6 | F4 | Sample ID: Unknown6 | 9566 | 8216 | 7776 | 59 | 18497 | 9125 | 89046.5 | 44944 | 8420.5 | 296.5
X6 | F5 | Sample ID: Unknown6 | 10518 | 8328 | 7692 | 61.5 | 19855 | 8806 | 93946 | 46154.5 | 8909 | 254
X6 | F6 | Sample ID: Unknown6 | 12130 | 8873 | 7297 | 68 | 24098 | 9519 | 101268 | 51124 | 8679.5 | 261
X7 | A7 | Sample ID: Unknown7 | 975.5 | 179.5 | 1311.5 | 31 | 585 | 1662.5 | 6816 | 67750 | 5691.5 | 140
X7 | A8 | Sample ID: Unknown7 | 1060 | 217 | 1236.5 | 37 | 639 | 1711 | 6289.5 | 69733 | 6150.5 | 127
X7 | A9 | Sample ID: Unknown7 | 889 | 174 | 1362 | 28 | 593 | 1539.5 | 6175 | 61062.5 | 5759.5 | 131
X8 | B7 | Sample ID: Unknown8 | 4170.5 | 585 | 3225.5 | 43 | 6999 | 4366.5 | 90822 | 60348 | 9483 | 214
X8 | B8 | Sample ID: Unknown8 | 4013.5 | 649 | 3117 | 47 | 7348.5 | 4708.5 | 93416 | 61340 | 9313 | 215
X8 | B9 | Sample ID: Unknown8 | 4156 | 511 | 2991 | 43 | 6897 | 4576.5 | 94696 | 59587 | 8933.5 | 190.5
X9 | C7 | Sample ID: Unknown9 | 5229 | 897 | 3566 | 54.5 | 8353.5 | 5827 | 94776.5 | 55655.5 | 8434 | 215
X9 | C8 | Sample ID: Unknown9 | 4962 | 974 | 3375 | 44 | 7892 | 5380.5 | 96978.5 | 55944 | 8907.5 | 209
X9 | C9 | Sample ID: Unknown9 | 5179.5 | 808 | 3208.5 | 41 | 7304.5 | 4988 | 93993 | 51977 | 8513 | 198
X10 | D7 | Sample ID: Unknown10 | 2560 | 435 | 1505 | 31 | 2586.5 | 3332 | 89911 | 53176 | 8490 | 177.5
X10 | D8 | Sample ID: Unknown10 | 2442.5 | 415 | 1475 | 34 | 2562 | 3190 | 91548 | 53764.5 | 8325.5 | 169
X10 | D9 | Sample ID: Unknown10 | 2515.5 | 405 | 1465.5 | 31 | 2472 | 3218.5 | 93416 | 53384 | 8174.5 | 203
X11 | E7 | Sample ID: Unknown11 | 6415.5 | 1379 | 4047 | 44.5 | 10104.5 | 6616 | 91606 | 52392.5 | 9404 | 240
X11 | E8 | Sample ID: Unknown11 | 6882 | 1507.5 | 3869 | 41 | 10352 | 6887 | 93473.5 | 51239 | 9546 | 215
X11 | E9 | Sample ID: Unknown11 | 7138 | 1294 | 3686.5 | 41.5 | 10018.5 | 6193 | 94511.5 | 50294 | 9259.5 | 220
X12 | F7 | Sample ID: Unknown12 | 2135.5 | 516 | 1545.5 | 36.5 | 3193 | 2884 | 92978 | 52669 | 8435 | 193
X12 | F8 | Sample ID: Unknown12 | 2266 | 514 | 1544 | 42 | 3319 | 2771 | 94857.5 | 55805 | 8227 | 165.5
X12 | F9 | Sample ID: Unknown12 | 2348.5 | 446 | 1539.5 | 34 | 3151 | 2995 | 91779 | 54283 | 7873.5 | 179
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## FI - Bkgd
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd
B | H1,H2,H3 | Reagent Name: Background0 | 109 | 108.8 | 76.7 | 30.3 | 85.2 | 196.2 | 65.2 | 237.7 | 274 | 117.7
S1 | A1,A2,A3 | Reagent Name: Standard1 | 67510.5 | 15276.7 | 25473.8 | 25028.3 | 89349.3 | 66255 | 96156.8 | 96414.3 | 26018.2 | 5692.5
S2 | B1,B2,B3 | Reagent Name: Standard2 | 39976.8 | 13911.7 | 20727.3 | 18780.5 | 71408.8 | 40712.2 | 65187 | 83816 | 23028.2 | 4556.8
S3 | C1,C2,C3 | Reagent Name: Standard3 | 16246.8 | 12630.7 | 12516.5 | 7139.8 | 37602.8 | 18539.8 | 34540.3 | 59948.8 | 21137.3 | 4042
S4 | D1,D2,D3 | Reagent Name: Standard4 | 3687 | 6774.5 | 3734.7 | 1191.2 | 10408.3 | 6866.2 | 10488.2 | 30832 | 16271 | 1605.3
S5 | E1,E2,E3 | Reagent Name: Standard5 | 727.3 | 1268 | 745 | 200.2 | 2053.5 | 1749.7 | 2004 | 11758.7 | 7260 | 426.3
S6 | F1,F2,F3 | Reagent Name: Standard6 | 161.2 | 199.2 | 141.7 | 39.5 | 421.8 | 470.5 | 345 | 3826.7 | 2285.5 | 125
S7 | G1,G2,G3 | Reagent Name: Standard7 | 41.3 | 40.8 | 44.5 | 7.2 | 104.8 | 116.2 | 84.7 | 1080.3 | 717.7 | 35.7
X1 | A4,A5,A6 | Sample ID: Unknown1 | 571.3 | 44.7 | 2819 | 0 | 16 | 910 | 7604.2 | 49014.5 | 4533.5 | 24.8
X2 | B4,B5,B6 | Sample ID: Unknown2 | 4985 | 1037 | 2735.3 | 7.7 | 761.7 | 5417 | 92082.5 | 51558.8 | 6140.3 | 127.3
X3 | C4,C5,C6 | Sample ID: Unknown3 | 4464.7 | 1451.3 | 4519.8 | 4.8 | 3077.5 | 5011.5 | 94657.5 | 56174.8 | 6315.5 | 108
X4 | D4,D5,D6 | Sample ID: Unknown4 | 1746 | 302.8 | 4176.7 | 3.2 | 433.2 | 2517.8 | 94526.8 | 54126.5 | 5802.8 | 78.8
X5 | E4,E5,E6 | Sample ID: Unknown5 | 4767.7 | 4072.7 | 4384.8 | 12.2 | 6668.5 | 5029 | 93366.2 | 39068.2 | 7082.2 | 96.5
X6 | F4,F5,F6 | Sample ID: Unknown6 | 10629 | 8363.5 | 7511.7 | 32.5 | 20731.5 | 8953.8 | 94688.3 | 47169.8 | 8395.7 | 152.8
X7 | A7,A8,A9 | Sample ID: Unknown7 | 865.8 | 81.3 | 1226.7 | 1.7 | 520.5 | 1441.5 | 6361.7 | 65944.2 | 5593.2 | 15
X8 | B7,B8,B9 | Sample ID: Unknown8 | 4004.3 | 472.8 | 3034.5 | 14 | 6996.3 | 4354.3 | 92912.8 | 60187.3 | 8969.2 | 88.8
X9 | C7,C8,C9 | Sample ID: Unknown9 | 5014.5 | 784.2 | 3306.5 | 16.2 | 7764.8 | 5202.3 | 95184.2 | 54287.8 | 8344.2 | 89.7
X10 | D7,D8,D9 | Sample ID: Unknown10 | 2397 | 309.5 | 1405.2 | 1.7 | 2455 | 3050.7 | 91559.8 | 53203.8 | 8056 | 65.5
X11 | E7,E8,E9 | Sample ID: Unknown11 | 6702.8 | 1284.7 | 3790.8 | 12 | 10073.2 | 6369.2 | 93131.8 | 51070.8 | 9129.2 | 107.3
X12 | F7,F8,F9 | Sample ID: Unknown12 | 2141 | 383.2 | 1466.3 | 7.2 | 3135.8 | 2687.2 | 93139.7 | 54014.7 | 7904.5 | 61.5
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd | FI - Bkgd
B | H1 | Reagent Name: Background0 | 116 | 86.5 | 77.5 | 28 | 79 | 159 | 65 | 220.5 | 272 | 110.5
B | H2 | Reagent Name: Background0 | 108 | 97 | 73 | 31 | 74 | 162.5 | 62 | 186 | 243 | 107
B | H3 | Reagent Name: Background0 | 103 | 143 | 79.5 | 32 | 102.5 | 267 | 68.5 | 306.5 | 307 | 135.5
S1 | A1 | Reagent Name: Standard1 | 72253.5 | 15920.7 | 25450.8 | 25324.2 | 92639.3 | 69560.3 | 90537.8 | 98827.8 | 25587.5 | 6248.8
S1 | A2 | Reagent Name: Standard1 | 65704 | 14535.2 | 25312.3 | 24171.2 | 87588.8 | 66216.8 | 99369.8 | 94988.3 | 26268 | 5211.3
S1 | A3 | Reagent Name: Standard1 | 64574 | 15374.2 | 25658.3 | 25589.7 | 87819.8 | 62987.8 | 98562.8 | 95426.8 | 26199 | 5617.3
S2 | B1 | Reagent Name: Standard2 | 41606.5 | 13863.2 | 20296.8 | 19870.7 | 77765.8 | 41357.8 | 70417.3 | 84577.3 | 23051.5 | 4941.3
S2 | B2 | Reagent Name: Standard2 | 41583 | 13891.7 | 20631.3 | 19644.2 | 72853.8 | 43271.8 | 65563.8 | 84484.3 | 23304.5 | 4545.3
S2 | B3 | Reagent Name: Standard2 | 36741 | 13980.2 | 21253.8 | 16826.7 | 63606.8 | 37506.8 | 59579.8 | 82386.3 | 22728.5 | 4183.8
S3 | C1 | Reagent Name: Standard3 | 16722.5 | 12479.7 | 12354.3 | 7664.7 | 40500.8 | 19588.8 | 37361.3 | 60571.3 | 20376.5 | 4024.8
S3 | C2 | Reagent Name: Standard3 | 18016 | 13053.2 | 12856.8 | 8604.7 | 43267.8 | 20137.8 | 37799.8 | 65287.3 | 21437 | 4332.3
S3 | C3 | Reagent Name: Standard3 | 14002 | 12359.2 | 12338.3 | 5150.2 | 29039.8 | 15892.8 | 28459.8 | 53987.8 | 21598.5 | 3768.8
S4 | D1 | Reagent Name: Standard4 | 3934 | 7716.2 | 3876.8 | 1434.7 | 11726.3 | 7047.3 | 11483.8 | 32023.3 | 16123.5 | 1588.3
S4 | D2 | Reagent Name: Standard4 | 3891 | 7356.2 | 3919.3 | 1402.7 | 11807.8 | 7509.8 | 12030.8 | 31493.3 | 16398.5 | 1576.3
S4 | D3 | Reagent Name: Standard4 | 3236 | 5251.2 | 3407.8 | 736.2 | 7690.8 | 6041.3 | 7949.8 | 28979.3 | 16291 | 1651.3
S5 | E1 | Reagent Name: Standard5 | 700 | 1471.2 | 869.3 | 212.2 | 2167.8 | 1936.8 | 2353.8 | 11607.3 | 7298.5 | 401.3
S5 | E2 | Reagent Name: Standard5 | 834 | 1478.7 | 693.3 | 239.7 | 2401.8 | 1775.3 | 2173.8 | 12992.3 | 7196 | 440.3
S5 | E3 | Reagent Name: Standard5 | 648 | 854.2 | 672.3 | 148.7 | 1590.8 | 1536.8 | 1484.3 | 10676.3 | 7285.5 | 437.3
S6 | F1 | Reagent Name: Standard6 | 179 | 224.2 | 146.3 | 32.2 | 518.8 | 540.8 | 384.8 | 4417.3 | 2393 | 120.3
S6 | F2 | Reagent Name: Standard6 | 152 | 245.2 | 139.3 | 43.7 | 436.8 | 523.8 | 412.3 | 4070.3 | 2451.5 | 112.3
S6 | F3 | Reagent Name: Standard6 | 152.5 | 128.2 | 139.3 | 42.7 | 309.8 | 346.8 | 237.8 | 2992.3 | 2012 | 142.3
S7 | G1 | Reagent Name: Standard7 | 33 | 51.2 | 46.8 | 4.2 | 82.8 | 92.8 | 89.8 | 996.3 | 626.5 | 23.3
S7 | G2 | Reagent Name: Standard7 | 64 | 26.2 | 50.3 | 5.7 | 105.8 | 122.8 | 72.8 | 1108.8 | 722 | 46.3
S7 | G3 | Reagent Name: Standard7 | 27 | 45.2 | 36.3 | 11.7 | 125.8 | 132.8 | 91.3 | 1135.8 | 804.5 | 37.3
X1 | A4 | Sample ID: Unknown1 | 476 | 34.7 | 2838.8 | 2.7 | 17.3 | 833.8 | 7553.8 | 47219.3 | 4433 | 28.8
X1 | A5 | Sample ID: Unknown1 | 523 | 53.2 | 2888.3 | -1.3 | 7.8 | 916.8 | 7417.3 | 51047.3 | 4443 | 41.3
X1 | A6 | Sample ID: Unknown1 | 715 | 46.2 | 2729.8 | -1.3 | 22.8 | 979.3 | 7841.3 | 48776.8 | 4724.5 | 4.3
X2 | B4 | Sample ID: Unknown2 | 4086 | 999.2 | 2596.3 | 4.7 | 639.8 | 5105.8 | 79145.8 | 44394.8 | 5754 | 157.3
X2 | B5 | Sample ID: Unknown2 | 4951 | 1054.2 | 2867.3 | 11.7 | 814.3 | 5448.8 | 96117.8 | 53215.3 | 6358.5 | 122.8
X2 | B6 | Sample ID: Unknown2 | 5918 | 1057.7 | 2742.3 | 6.7 | 830.8 | 5696.3 | 100983.8 | 57066.3 | 6308.5 | 101.8
X3 | C4 | Sample ID: Unknown3 | 4105 | 1373.7 | 4327.8 | 2.7 | 2934.8 | 4896.8 | 94664.8 | 56524.3 | 6263.5 | 99.3
X3 | C5 | Sample ID: Unknown3 | 4432 | 1576.2 | 4807.3 | -1.8 | 2987.3 | 5105.8 | 93304.8 | 58380.8 | 6154.5 | 127.3
X3 | C6 | Sample ID: Unknown3 | 4857 | 1404.2 | 4424.3 | 13.7 | 3310.3 | 5031.8 | 96002.8 | 53619.3 | 6528.5 | 97.3
X4 | D4 | Sample ID: Unknown4 | 1714 | 268.2 | 4124.3 | 4.2 | 405.8 | 2457.8 | 93304.8 | 54276.3 | 5435 | 58.3
X4 | D5 | Sample ID: Unknown4 | 1704 | 337.2 | 4125.3 | 6.7 | 456.8 | 2582.8 | 94538.3 | 53884.3 | 6165.5 | 86.3
X4 | D6 | Sample ID: Unknown4 | 1820 | 303.2 | 4280.3 | -1.3 | 436.8 | 2512.8 | 95737.3 | 54218.8 | 5808 | 91.8
X5 | E4 | Sample ID: Unknown5 | 4421 | 3923.2 | 4244.8 | 4.2 | 5980.8 | 4883.8 | 88969.8 | 38445.8 | 6846 | 105.3
X5 | E5 | Sample ID: Unknown5 | 4832.5 | 4045.7 | 4420.3 | 15.7 | 6983.3 | 5089.3 | 94203.8 | 38641.3 | 7089.5 | 91.8
X5 | E6 | Sample ID: Unknown5 | 5049.5 | 4249.2 | 4489.3 | 16.7 | 7041.3 | 5113.8 | 96924.8 | 40117.3 | 7311 | 92.3
X6 | F4 | Sample ID: Unknown6 | 9457 | 8107.2 | 7699.3 | 28.7 | 18411.8 | 8928.8 | 88981.3 | 44706.3 | 8146.5 | 178.8
X6 | F5 | Sample ID: Unknown6 | 10409 | 8219.2 | 7615.3 | 31.2 | 19769.8 | 8609.8 | 93880.8 | 45916.8 | 8635 | 136.3
X6 | F6 | Sample ID: Unknown6 | 12021 | 8764.2 | 7220.3 | 37.7 | 24012.8 | 9322.8 | 101202.8 | 50886.3 | 8405.5 | 143.3
X7 | A7 | Sample ID: Unknown7 | 866.5 | 70.7 | 1234.8 | 0.7 | 499.8 | 1466.3 | 6750.8 | 67512.3 | 5417.5 | 22.3
X7 | A8 | Sample ID: Unknown7 | 951 | 108.2 | 1159.8 | 6.7 | 553.8 | 1514.8 | 6224.3 | 69495.3 | 5876.5 | 9.3
X7 | A9 | Sample ID: Unknown7 | 780 | 65.2 | 1285.3 | -2.3 | 507.8 | 1343.3 | 6109.8 | 60824.8 | 5485.5 | 13.3
X8 | B7 | Sample ID: Unknown8 | 4061.5 | 476.2 | 3148.8 | 12.7 | 6913.8 | 4170.3 | 90756.8 | 60110.3 | 9209 | 96.3
X8 | B8 | Sample ID: Unknown8 | 3904.5 | 540.2 | 3040.3 | 16.7 | 7263.3 | 4512.3 | 93350.8 | 61102.3 | 9039 | 97.3
X8 | B9 | Sample ID: Unknown8 | 4047 | 402.2 | 2914.3 | 12.7 | 6811.8 | 4380.3 | 94630.8 | 59349.3 | 8659.5 | 72.8
X9 | C7 | Sample ID: Unknown9 | 5120 | 788.2 | 3489.3 | 24.2 | 8268.3 | 5630.8 | 94711.3 | 55417.8 | 8160 | 97.3
X9 | C8 | Sample ID: Unknown9 | 4853 | 865.2 | 3298.3 | 13.7 | 7806.8 | 5184.3 | 96913.3 | 55706.3 | 8633.5 | 91.3
X9 | C9 | Sample ID: Unknown9 | 5070.5 | 699.2 | 3131.8 | 10.7 | 7219.3 | 4791.8 | 93927.8 | 51739.3 | 8239 | 80.3
X10 | D7 | Sample ID: Unknown10 | 2451 | 326.2 | 1428.3 | 0.7 | 2501.3 | 3135.8 | 89845.8 | 52938.3 | 8216 | 59.8
X10 | D8 | Sample ID: Unknown10 | 2333.5 | 306.2 | 1398.3 | 3.7 | 2476.8 | 2993.8 | 91482.8 | 53526.8 | 8051.5 | 51.3
X10 | D9 | Sample ID: Unknown10 | 2406.5 | 296.2 | 1388.8 | 0.7 | 2386.8 | 3022.3 | 93350.8 | 53146.3 | 7900.5 | 85.3
X11 | E7 | Sample ID: Unknown11 | 6306.5 | 1270.2 | 3970.3 | 14.2 | 10019.3 | 6419.8 | 91540.8 | 52154.8 | 9130 | 122.3
X11 | E8 | Sample ID: Unknown11 | 6773 | 1398.7 | 3792.3 | 10.7 | 10266.8 | 6690.8 | 93408.3 | 51001.3 | 9272 | 97.3
X11 | E9 | Sample ID: Unknown11 | 7029 | 1185.2 | 3609.8 | 11.2 | 9933.3 | 5996.8 | 94446.3 | 50056.3 | 8985.5 | 102.3
X12 | F7 | Sample ID: Unknown12 | 2026.5 | 407.2 | 1468.8 | 6.2 | 3107.8 | 2687.8 | 92912.8 | 52431.3 | 8161 | 75.3
X12 | F8 | Sample ID: Unknown12 | 2157 | 405.2 | 1467.3 | 11.7 | 3233.8 | 2574.8 | 94792.3 | 55567.3 | 7953 | 47.8
X12 | F9 | Sample ID: Unknown12 | 2239.5 | 337.2 | 1462.8 | 3.7 | 3065.8 | 2798.8 | 91713.8 | 54045.3 | 7599.5 | 61.3
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Std Dev
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev
B | H1,H2,H3 | Reagent Name: Background0 | 6.56 | 30.05 | 3.33 | 2.08 | 15.22 | 61.37 | 3.25 | 62.06 | 32.05 | 15.54
S1 | A1,A2,A3 | Reagent Name: Standard1 | 4146.23 | 697.88 | 174.14 | 754.1 | 2851.56 | 3286.42 | 4882.9 | 2101.62 | 374.56 | 522.82
S2 | B1,B2,B3 | Reagent Name: Standard2 | 2802.34 | 61.01 | 485.67 | 1695.85 | 7189.25 | 2936.23 | 5428.57 | 1239 | 288.71 | 378.88
S3 | C1,C2,C3 | Reagent Name: Standard3 | 2048.84 | 370.82 | 294.85 | 1786.05 | 7543.73 | 2308.75 | 5270.43 | 5675.41 | 663.83 | 282.14
S4 | D1,D2,D3 | Reagent Name: Standard4 | 391.17 | 1331.47 | 283.84 | 394.37 | 2353.78 | 750.83 | 2215.21 | 1626.19 | 138.59 | 40.29
S5 | E1,E2,E3 | Reagent Name: Standard5 | 95.97 | 358.41 | 108.19 | 46.67 | 417.41 | 201.23 | 458.96 | 1165.39 | 55.81 | 21.7
S6 | F1,F2,F3 | Reagent Name: Standard6 | 15.45 | 62.38 | 4.04 | 6.37 | 105.3 | 107.44 | 93.82 | 743.09 | 238.66 | 15.53
S7 | G1,G2,G3 | Reagent Name: Standard7 | 19.86 | 13.05 | 7.29 | 3.97 | 21.52 | 20.82 | 10.28 | 73.99 | 89.08 | 11.59
X1 | A4,A5,A6 | Sample ID: Unknown1 | 126.62 | 9.34 | 81.09 | 2.31 | 7.59 | 72.99 | 216.43 | 1925.04 | 165.49 | 18.82
X2 | B4,B5,B6 | Sample ID: Unknown2 | 916.47 | 32.81 | 135.64 | 3.61 | 105.83 | 296.53 | 11464.62 | 6496.13 | 335.51 | 28.02
X3 | C4,C5,C6 | Sample ID: Unknown3 | 377.06 | 109.18 | 253.61 | 7.97 | 203.34 | 105.97 | 1349.01 | 2399.91 | 192.35 | 16.77
X4 | D4,D5,D6 | Sample ID: Unknown4 | 64.28 | 34.5 | 89.78 | 4.09 | 25.7 | 62.65 | 1216.29 | 211.68 | 365.28 | 17.97
X5 | E4,E5,E6 | Sample ID: Unknown5 | 319.23 | 164.67 | 126.06 | 6.95 | 596.24 | 126.31 | 4043.11 | 913.85 | 232.59 | 7.65
X6 | F4,F5,F6 | Sample ID: Unknown6 | 1296.08 | 351.48 | 255.77 | 4.65 | 2921.71 | 357.16 | 6150.63 | 3275 | 244.4 | 22.79
X7 | A7,A8,A9 | Sample ID: Unknown7 | 85.5 | 23.4 | 63.15 | 4.58 | 29.14 | 88.41 | 341.86 | 4542.99 | 247.72 | 6.66
X8 | B7,B8,B9 | Sample ID: Unknown8 | 86.76 | 69.06 | 117.36 | 2.31 | 236.79 | 172.48 | 1973.79 | 879.03 | 281.33 | 13.87
X9 | C7,C8,C9 | Sample ID: Unknown9 | 142.04 | 83.07 | 178.89 | 7.09 | 525.76 | 419.79 | 1547.9 | 2211.77 | 253.66 | 8.62
X10 | D7,D8,D9 | Sample ID: Unknown10 | 59.32 | 15.28 | 20.62 | 1.73 | 60.29 | 75.12 | 1753.77 | 298.43 | 157.8 | 17.69
X11 | E7,E8,E9 | Sample ID: Unknown11 | 366.33 | 107.49 | 180.25 | 1.89 | 173.14 | 349.76 | 1472.35 | 1050.97 | 143.25 | 13.23
X12 | F7,F8,F9 | Sample ID: Unknown12 | 107.4 | 39.85 | 3.12 | 4.09 | 87.43 | 112 | 1551.73 | 1568.22 | 283.87 | 13.75
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev | Std Dev
B | H1 | Reagent Name: Background0
B | H2 | Reagent Name: Background0
B | H3 | Reagent Name: Background0
S1 | A1 | Reagent Name: Standard1
S1 | A2 | Reagent Name: Standard1
S1 | A3 | Reagent Name: Standard1
S2 | B1 | Reagent Name: Standard2
S2 | B2 | Reagent Name: Standard2
S2 | B3 | Reagent Name: Standard2
S3 | C1 | Reagent Name: Standard3
S3 | C2 | Reagent Name: Standard3
S3 | C3 | Reagent Name: Standard3
S4 | D1 | Reagent Name: Standard4
S4 | D2 | Reagent Name: Standard4
S4 | D3 | Reagent Name: Standard4
S5 | E1 | Reagent Name: Standard5
S5 | E2 | Reagent Name: Standard5
S5 | E3 | Reagent Name: Standard5
S6 | F1 | Reagent Name: Standard6
S6 | F2 | Reagent Name: Standard6
S6 | F3 | Reagent Name: Standard6
S7 | G1 | Reagent Name: Standard7
S7 | G2 | Reagent Name: Standard7
S7 | G3 | Reagent Name: Standard7
X1 | A4 | Sample ID: Unknown1
X1 | A5 | Sample ID: Unknown1
X1 | A6 | Sample ID: Unknown1
X2 | B4 | Sample ID: Unknown2
X2 | B5 | Sample ID: Unknown2
X2 | B6 | Sample ID: Unknown2
X3 | C4 | Sample ID: Unknown3
X3 | C5 | Sample ID: Unknown3
X3 | C6 | Sample ID: Unknown3
X4 | D4 | Sample ID: Unknown4
X4 | D5 | Sample ID: Unknown4
X4 | D6 | Sample ID: Unknown4
X5 | E4 | Sample ID: Unknown5
X5 | E5 | Sample ID: Unknown5
X5 | E6 | Sample ID: Unknown5
X6 | F4 | Sample ID: Unknown6
X6 | F5 | Sample ID: Unknown6
X6 | F6 | Sample ID: Unknown6
X7 | A7 | Sample ID: Unknown7
X7 | A8 | Sample ID: Unknown7
X7 | A9 | Sample ID: Unknown7
X8 | B7 | Sample ID: Unknown8
X8 | B8 | Sample ID: Unknown8
X8 | B9 | Sample ID: Unknown8
X9 | C7 | Sample ID: Unknown9
X9 | C8 | Sample ID: Unknown9
X9 | C9 | Sample ID: Unknown9
X10 | D7 | Sample ID: Unknown10
X10 | D8 | Sample ID: Unknown10
X10 | D9 | Sample ID: Unknown10
X11 | E7 | Sample ID: Unknown11
X11 | E8 | Sample ID: Unknown11
X11 | E9 | Sample ID: Unknown11
X12 | F7 | Sample ID: Unknown12
X12 | F8 | Sample ID: Unknown12
X12 | F9 | Sample ID: Unknown12
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## %CV
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV
B | H1,H2,H3 | Reagent Name: Background0 | 6.02 | 27.61 | 4.34 | 6.86 | 17.87 | 31.28 | 4.99 | 26.11 | 11.7 | 13.21
S1 | A1,A2,A3 | Reagent Name: Standard1 | 6.13 | 4.54 | 0.68 | 3.01 | 3.19 | 4.95 | 5.07 | 2.17 | 1.42 | 9
S2 | B1,B2,B3 | Reagent Name: Standard2 | 6.99 | 0.44 | 2.33 | 9.02 | 10.06 | 7.18 | 8.32 | 1.47 | 1.24 | 8.11
S3 | C1,C2,C3 | Reagent Name: Standard3 | 12.53 | 2.91 | 2.34 | 24.91 | 20.02 | 12.32 | 15.23 | 9.43 | 3.1 | 6.78
S4 | D1,D2,D3 | Reagent Name: Standard4 | 10.3 | 19.34 | 7.45 | 32.29 | 22.43 | 10.63 | 20.99 | 5.23 | 0.84 | 2.34
S5 | E1,E2,E3 | Reagent Name: Standard5 | 11.47 | 26.03 | 13.17 | 20.25 | 19.52 | 10.34 | 22.18 | 9.71 | 0.74 | 3.99
S6 | F1,F2,F3 | Reagent Name: Standard6 | 5.72 | 20.25 | 1.85 | 9.12 | 20.77 | 16.12 | 22.87 | 18.28 | 9.32 | 6.4
S7 | G1,G2,G3 | Reagent Name: Standard7 | 13.21 | 8.72 | 6.01 | 10.58 | 11.32 | 6.66 | 6.86 | 5.61 | 8.98 | 7.56
X1 | A4,A5,A6 | Sample ID: Unknown1 | 18.61 | 6.09 | 2.8 | 7.61 | 7.5 | 6.6 | 2.82 | 3.91 | 3.44 | 13.21
X2 | B4,B5,B6 | Sample ID: Unknown2 | 17.99 | 2.86 | 4.82 | 9.49 | 12.5 | 5.28 | 12.44 | 12.54 | 5.23 | 11.44
X3 | C4,C5,C6 | Sample ID: Unknown3 | 8.24 | 7 | 5.52 | 22.67 | 6.43 | 2.03 | 1.42 | 4.25 | 2.92 | 7.43
X4 | D4,D5,D6 | Sample ID: Unknown4 | 3.47 | 8.38 | 2.11 | 12.22 | 4.96 | 2.31 | 1.29 | 0.39 | 6.01 | 9.14
X5 | E4,E5,E6 | Sample ID: Unknown5 | 6.55 | 3.94 | 2.83 | 16.34 | 8.83 | 2.42 | 4.33 | 2.32 | 3.16 | 3.57
X6 | F4,F5,F6 | Sample ID: Unknown6 | 12.07 | 4.15 | 3.37 | 7.39 | 14.04 | 3.9 | 6.49 | 6.91 | 2.82 | 8.42
X7 | A7,A8,A9 | Sample ID: Unknown7 | 8.77 | 12.31 | 4.85 | 14.32 | 4.81 | 5.4 | 5.32 | 6.86 | 4.22 | 5.02
X8 | B7,B8,B9 | Sample ID: Unknown8 | 2.11 | 11.87 | 3.77 | 5.21 | 3.34 | 3.79 | 2.12 | 1.45 | 3.04 | 6.71
X9 | C7,C8,C9 | Sample ID: Unknown9 | 2.77 | 9.3 | 5.29 | 15.24 | 6.7 | 7.78 | 1.63 | 4.06 | 2.94 | 4.16
X10 | D7,D8,D9 | Sample ID: Unknown10 | 2.37 | 3.65 | 1.39 | 5.41 | 2.37 | 2.31 | 1.91 | 0.56 | 1.89 | 9.66
X11 | E7,E8,E9 | Sample ID: Unknown11 | 5.38 | 7.71 | 4.66 | 4.47 | 1.7 | 5.33 | 1.58 | 2.05 | 1.52 | 5.88
X12 | F7,F8,F9 | Sample ID: Unknown12 | 4.77 | 8.1 | 0.2 | 10.91 | 2.71 | 3.88 | 1.66 | 2.89 | 3.47 | 7.67
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV | %CV
B | H1 | Reagent Name: Background0
B | H2 | Reagent Name: Background0
B | H3 | Reagent Name: Background0
S1 | A1 | Reagent Name: Standard1
S1 | A2 | Reagent Name: Standard1
S1 | A3 | Reagent Name: Standard1
S2 | B1 | Reagent Name: Standard2
S2 | B2 | Reagent Name: Standard2
S2 | B3 | Reagent Name: Standard2
S3 | C1 | Reagent Name: Standard3
S3 | C2 | Reagent Name: Standard3
S3 | C3 | Reagent Name: Standard3
S4 | D1 | Reagent Name: Standard4
S4 | D2 | Reagent Name: Standard4
S4 | D3 | Reagent Name: Standard4
S5 | E1 | Reagent Name: Standard5
S5 | E2 | Reagent Name: Standard5
S5 | E3 | Reagent Name: Standard5
S6 | F1 | Reagent Name: Standard6
S6 | F2 | Reagent Name: Standard6
S6 | F3 | Reagent Name: Standard6
S7 | G1 | Reagent Name: Standard7
S7 | G2 | Reagent Name: Standard7
S7 | G3 | Reagent Name: Standard7
X1 | A4 | Sample ID: Unknown1
X1 | A5 | Sample ID: Unknown1
X1 | A6 | Sample ID: Unknown1
X2 | B4 | Sample ID: Unknown2
X2 | B5 | Sample ID: Unknown2
X2 | B6 | Sample ID: Unknown2
X3 | C4 | Sample ID: Unknown3
X3 | C5 | Sample ID: Unknown3
X3 | C6 | Sample ID: Unknown3
X4 | D4 | Sample ID: Unknown4
X4 | D5 | Sample ID: Unknown4
X4 | D6 | Sample ID: Unknown4
X5 | E4 | Sample ID: Unknown5
X5 | E5 | Sample ID: Unknown5
X5 | E6 | Sample ID: Unknown5
X6 | F4 | Sample ID: Unknown6
X6 | F5 | Sample ID: Unknown6
X6 | F6 | Sample ID: Unknown6
X7 | A7 | Sample ID: Unknown7
X7 | A8 | Sample ID: Unknown7
X7 | A9 | Sample ID: Unknown7
X8 | B7 | Sample ID: Unknown8
X8 | B8 | Sample ID: Unknown8
X8 | B9 | Sample ID: Unknown8
X9 | C7 | Sample ID: Unknown9
X9 | C8 | Sample ID: Unknown9
X9 | C9 | Sample ID: Unknown9
X10 | D7 | Sample ID: Unknown10
X10 | D8 | Sample ID: Unknown10
X10 | D9 | Sample ID: Unknown10
X11 | E7 | Sample ID: Unknown11
X11 | E8 | Sample ID: Unknown11
X11 | E9 | Sample ID: Unknown11
X12 | F7 | Sample ID: Unknown12
X12 | F8 | Sample ID: Unknown12
X12 | F9 | Sample ID: Unknown12
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Conc in Range
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range
B | H1,H2,H3 | Reagent Name: Background0
S1 | A1,A2,A3 | Reagent Name: Standard1 | 29357.19 | OOR > | 177393.55 | OOR > | 36560.07 | 30329.68 | 5168.06 | 36437.05 | OOR > | OOR >
S2 | B1,B2,B3 | Reagent Name: Standard2 | 6628.51 | OOR > | 31546.14 | 7152.66 | 7830.74 | 7633.91 | 1075.49 | 8492.89 | OOR > | OOR >
S3 | C1,C2,C3 | Reagent Name: Standard3 | 1840.47 | 2942.31 | 9042.98 | 1989.31 | 2076.65 | 1843.64 | 304.97 | 2192.69 | 8284.22 | 13791.04
S4 | D1,D2,D3 | Reagent Name: Standard4 | 427.85 | 837.65 | 2159.94 | 459.6 | 514 | 496.84 | 73.89 | 547.23 | 2669.9 | 3019.61
S5 | E1,E2,E3 | Reagent Name: Standard5 | 107.58 | 199.48 | 547.44 | 118.57 | 126.02 | 113 | 17.98 | 135.57 | 579.38 | 739.17
S6 | F1,F2,F3 | Reagent Name: Standard6 | 29.4 | 52.34 | 137.03 | 33.2 | 32.75 | 30.84 | 4.69 | 34.2 | 150.71 | 206.46
S7 | G1,G2,G3 | Reagent Name: Standard7 | 5.97 | 12.13 | 33.82 | 5.71 | 7.88 | 7.2 | 1.12 | 8.51 | 37.16 | 42.27
X1 | A4,A5,A6 | Sample ID: Unknown1 | 87.92 | 13.63 | 1668.42 | OOR < | OOR < | 58.89 | 54.55 | 1325.15 | 321.34 | OOR <
X2 | B4,B5,B6 | Sample ID: Unknown2 | 561.12 | 172.4 | 1624.11 | 6.33 | 54.69 | 377.41 | 3976.27 | 1488.6 | 464.51 | 210.66
X3 | C4,C5,C6 | Sample ID: Unknown3 | 507.71 | 220.25 | 2596.14 | OOR < | 177.11 | 345.58 | 4676.47 | 1839.46 | 481.56 | 175.82
X4 | D4,D5,D6 | Sample ID: Unknown4 | 224.21 | 71.31 | 2403.43 | OOR < | 33.53 | 164.26 | 4636.86 | 1674.15 | 432.52 | 122.77
X5 | E4,E5,E6 | Sample ID: Unknown5 | 538.8 | 500.29 | 2519.92 | 11.25 | 344.26 | 346.94 | 4305.15 | 832.36 | 560.16 | 154.98
X6 | F4,F5,F6 | Sample ID: Unknown6 | 1162.96 | 1104.92 | 4472.49 | 28.21 | 1012.8 | 685.27 | 4685.89 | 1217.65 | 712.16 | 256.32
X7 | A7,A8,A9 | Sample ID: Unknown7 | 124.43 | 25.36 | 821.02 | OOR < | 39.4 | 92.95 | 46.46 | 2928.7 | 413.2 | OOR <
X8 | B7,B8,B9 | Sample ID: Unknown8 | 460.46 | 98.29 | 1782.9 | 13.04 | 359.15 | 295.44 | 4184.74 | 2217.46 | 786.68 | 141.04
X9 | C7,C8,C9 | Sample ID: Unknown9 | 564.16 | 141.05 | 1928.31 | 15.06 | 393.99 | 360.48 | 4841.16 | 1686.58 | 705.73 | 142.55
X10 | D7,D8,D9 | Sample ID: Unknown10 | 293.85 | 72.45 | 918.42 | OOR < | 146.4 | 201.01 | 3852.5 | 1604.88 | 670.51 | 98.23
X11 | E7,E8,E9 | Sample ID: Unknown11 | 738.85 | 201.39 | 2190.61 | 11.08 | 498.72 | 454.86 | 4242.3 | 1455.78 | 808.48 | 174.61
X12 | F7,F8,F9 | Sample ID: Unknown12 | 266.72 | 84.53 | 951.49 | 5.71 | 179.94 | 175.83 | 4244.38 | 1665.59 | 652.49 | 90.83
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range | Conc in Range
B | H1 | Reagent Name: Background0
B | H2 | Reagent Name: Background0
B | H3 | Reagent Name: Background0
S1 | A1 | Reagent Name: Standard1 | OOR > | OOR > | 173970.18 | OOR > | OOR > | OOR > | 3625.66 | OOR > | OOR > | OOR >
S1 | A2 | Reagent Name: Standard1 | 25905.08 | OOR > | 155816.38 | OOR > | 27418.86 | 30264.69 | OOR > | 28172.06 | OOR > | OOR >
S1 | A3 | Reagent Name: Standard1 | 24044.74 | OOR > | OOR > | OOR > | 28348.23 | 25294.36 | OOR > | 30338.33 | OOR > | OOR >
S2 | B1 | Reagent Name: Standard2 | 7160.83 | OOR > | 28983.45 | OOR > | 11191.63 | 7909.6 | 1342.56 | 9009.11 | OOR > | OOR >
S2 | B2 | Reagent Name: Standard2 | 7152.86 | OOR > | 30943.81 | OOR > | 8432.01 | 8779.86 | 1092.52 | 8943.49 | OOR > | OOR >
S2 | B3 | Reagent Name: Standard2 | 5683.03 | OOR > | 35219.43 | 5688.45 | 5497.43 | 6385.44 | 854.3 | 7638.57 | OOR > | OOR >
S3 | C1 | Reagent Name: Standard3 | 1902.71 | 2788.83 | 8849.87 | 2128.55 | 2311.86 | 2004.91 | 344.86 | 2258.01 | 6595.02 | 13615.35
S3 | C2 | Reagent Name: Standard3 | 2076.4 | OOR > | 9461.94 | 2386.13 | 2557.32 | 2092.47 | 351.41 | 2834.86 | OOR > | OOR >
S3 | C3 | Reagent Name: Standard3 | 1557.73 | 2678.08 | 8831.04 | 1481.98 | 1483.68 | 1469.81 | 230.43 | 1663.55 | OOR > | 11377.24
S4 | D1 | Reagent Name: Standard4 | 453.24 | 986.64 | 2237.72 | 530.16 | 574.4 | 512.41 | 80.81 | 583.32 | 2598.96 | 2982.13
S4 | D2 | Reagent Name: Standard4 | 448.82 | 926.88 | 2261.07 | 521.04 | 578.16 | 552.82 | 84.68 | 567.07 | 2733.29 | 2955.78
S4 | D3 | Reagent Name: Standard4 | 381.34 | 635.75 | 1982.8 | 318.48 | 390.64 | 427.76 | 56.82 | 494.08 | 2679.71 | 3122.01
S5 | E1 | Reagent Name: Standard5 | 104.19 | 222.46 | 620.15 | 123.95 | 131.88 | 125.32 | 20.39 | 133.3 | 583.6 | 695.08
S5 | E2 | Reagent Name: Standard5 | 120.6 | 223.3 | 516.61 | 135.99 | 143.74 | 114.69 | 19.15 | 154.59 | 572.42 | 763.88
S5 | E3 | Reagent Name: Standard5 | 97.69 | 149.96 | 503.97 | 94.45 | 101.75 | 99.13 | 14.27 | 119.62 | 582.17 | 758.58
S6 | F1 | Reagent Name: Standard6 | 32.35 | 57.18 | 141.15 | 27.97 | 39.29 | 35.36 | 5.12 | 40.47 | 158.37 | 198.07
S6 | F2 | Reagent Name: Standard6 | 27.85 | 61.1 | 134.96 | 36.05 | 33.78 | 34.27 | 5.4 | 36.76 | 162.54 | 183.65
S6 | F3 | Reagent Name: Standard6 | 27.93 | 37.22 | 134.96 | 35.37 | 24.78 | 22.83 | 3.46 | 25.76 | 131.34 | 237.55
S7 | G1 | Reagent Name: Standard7 | OOR < | 16 | 37.16 | OOR < | OOR < | OOR < | 1.23 | OOR < | OOR < | OOR <
S7 | G2 | Reagent Name: Standard7 | 11.29 | OOR < | 41.98 | OOR < | 7.98 | 7.68 | OOR < | 8.74 | 37.52 | 62.51
S7 | G3 | Reagent Name: Standard7 | OOR < | 13.82 | OOR < | 10.75 | 9.88 | 8.4 | 1.26 | 8.96 | 44.08 | 45.46
X1 | A4 | Sample ID: Unknown1 | 75.43 | OOR < | 1678.93 | OOR < | OOR < | 54.04 | 54.22 | 1220.42 | 313.08 | OOR <
X1 | A5 | Sample ID: Unknown1 | 81.64 | 16.7 | 1705.19 | OOR < | OOR < | 59.32 | 53.33 | 1454.22 | 313.9 | 53.06
X1 | A6 | Sample ID: Unknown1 | 106.05 | 14.2 | 1621.2 | OOR < | OOR < | 63.3 | 56.11 | 1310.8 | 337.23 | OOR <
X2 | B4 | Sample ID: Unknown2 | 468.85 | 167.84 | 1550.62 | OOR < | 47.11 | 352.93 | 1993.27 | 1071.09 | 427.98 | 264.35
X2 | B5 | Sample ID: Unknown2 | 557.63 | 174.45 | 1694.05 | 10.75 | 57.89 | 379.94 | 5154.35 | 1605.73 | 485.8 | 202.57
X2 | B6 | Sample ID: Unknown2 | 657.29 | 174.87 | 1627.81 | OOR < | 58.89 | 399.73 | OOR > | 1916.82 | 480.88 | 164.66
X3 | C4 | Sample ID: Unknown3 | 470.8 | 211.51 | 2487.9 | OOR < | 170.15 | 336.71 | 4678.71 | 1869.37 | 476.47 | 160.13
X3 | C5 | Sample ID: Unknown3 | 504.35 | 234.11 | 2760.38 | OOR < | 172.72 | 352.93 | 4288.57 | 2037.49 | 465.88 | 210.66
X3 | C6 | Sample ID: Unknown3 | 547.98 | 214.95 | 2542.16 | 12.72 | 188.38 | 347.16 | 5114.22 | 1635.7 | 502.74 | 156.5
X4 | D4 | Sample ID: Unknown4 | 220.72 | 65.26 | 2374.34 | OOR < | 31.65 | 160.18 | 4288.57 | 1685.69 | 398.89 | 84.95
X4 | D5 | Sample ID: Unknown4 | 219.63 | 77.09 | 2374.89 | OOR < | 35.15 | 168.69 | 4640.32 | 1655.68 | 466.94 | 136.48
X4 | D6 | Sample ID: Unknown4 | 232.25 | 71.37 | 2461.29 | OOR < | 33.78 | 163.92 | 5023.28 | 1681.26 | 433 | 146.5
X5 | E4 | Sample ID: Unknown5 | 503.22 | 483.93 | 2441.44 | OOR < | 312.94 | 335.7 | 3312.41 | 807.6 | 535.23 | 171
X5 | E5 | Sample ID: Unknown5 | 545.46 | 497.32 | 2539.91 | 14.6 | 358.56 | 351.64 | 4540.98 | 815.32 | 560.95 | 146.5
X5 | E6 | Sample ID: Unknown5 | 567.75 | 519.8 | 2578.87 | 15.51 | 361.2 | 353.55 | OOR > | 875.48 | 584.97 | 147.41
X6 | F4 | Sample ID: Unknown6 | 1032.97 | 1056.25 | 4605.32 | 25.35 | 894.3 | 682.89 | 3314.57 | 1086.7 | 681.44 | 302.62
X6 | F5 | Sample ID: Unknown6 | 1138.31 | 1077.2 | 4545.6 | 27.23 | 963.1 | 652.84 | 4447.91 | 1149.35 | 742.59 | 226.8
X6 | F6 | Sample ID: Unknown6 | 1321.91 | 1186.6 | 4270.48 | 31.92 | 1189.17 | 720.68 | OOR > | 1443.56 | 713.39 | 239.34
X7 | A7 | Sample ID: Unknown7 | 124.51 | 22.28 | 825.51 | OOR < | 38.03 | 94.56 | 48.99 | 3168.95 | 397.32 | OOR <
X7 | A8 | Sample ID: Unknown7 | 134.57 | 32.42 | 784.14 | OOR < | 41.59 | 97.7 | 45.58 | 3509.86 | 439.41 | OOR <
X7 | A9 | Sample ID: Unknown7 | 114.05 | 20.61 | 853.2 | OOR < | 38.57 | 86.62 | 44.84 | 2285.26 | 403.43 | OOR <
X8 | B7 | Sample ID: Unknown8 | 466.33 | 98.78 | 1843.88 | 11.75 | 355.41 | 281.71 | 3672.66 | 2209.43 | 819.53 | 154.68
X8 | B8 | Sample ID: Unknown8 | 450.21 | 108.1 | 1786 | 15.51 | 371.27 | 307.33 | 4300.99 | 2315.51 | 796.14 | 156.5
X8 | B9 | Sample ID: Unknown8 | 464.84 | 87.53 | 1718.99 | 11.75 | 350.78 | 297.39 | 4668.35 | 2131.82 | 745.76 | 111.75
X9 | C7 | Sample ID: Unknown9 | 575 | 141.56 | 2026.77 | 21.84 | 416.8 | 394.47 | 4692.93 | 1776.42 | 683.08 | 156.5
X9 | C8 | Sample ID: Unknown9 | 547.56 | 151.34 | 1923.93 | 12.72 | 395.9 | 359.07 | OOR > | 1800.17 | 742.4 | 145.59
X9 | C9 | Sample ID: Unknown9 | 569.91 | 129.95 | 1834.8 | 9.71 | 369.27 | 328.63 | 4461.28 | 1500.93 | 692.73 | 125.51
X10 | D7 | Sample ID: Unknown10 | 299.54 | 75.26 | 930.96 | OOR < | 148.72 | 206.98 | 3482.55 | 1585.5 | 689.91 | 87.74
X10 | D8 | Sample ID: Unknown10 | 287.14 | 71.88 | 914.71 | OOR < | 147.5 | 197.04 | 3834.72 | 1628.79 | 669.97 | 71.89
X10 | D9 | Sample ID: Unknown10 | 294.85 | 70.17 | 909.56 | OOR < | 142.98 | 199.03 | 4300.99 | 1600.66 | 652.02 | 134.65
X11 | E7 | Sample ID: Unknown11 | 697.57 | 199.73 | 2289.15 | 13.2 | 496.26 | 459.09 | 3848.1 | 1529.71 | 808.59 | 201.67
X11 | E8 | Sample ID: Unknown11 | 746.18 | 214.33 | 2191.43 | 9.71 | 507.54 | 481.91 | 4316.59 | 1451.16 | 828.33 | 156.5
X11 | E9 | Sample ID: Unknown11 | 772.99 | 189.9 | 2092.02 | 10.23 | 492.35 | 424.12 | 4612.69 | 1389.82 | 788.88 | 165.56
X12 | F7 | Sample ID: Unknown12 | 254.49 | 88.31 | 952.84 | OOR < | 178.58 | 175.87 | 4184.74 | 1549.17 | 683.2 | 116.35
X12 | F8 | Sample ID: Unknown12 | 268.42 | 87.99 | 952.03 | 10.75 | 184.68 | 168.14 | 4717.86 | 1788.69 | 658.22 | 65.33
X12 | F9 | Sample ID: Unknown12 | 277.19 | 77.09 | 949.6 | OOR < | 176.54 | 183.51 | 3888.4 | 1667.94 | 617.2 | 90.52
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Obs Conc
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc
B | H1,H2,H3 | Reagent Name: Background0
S1 | A1,A2,A3 | Reagent Name: Standard1 | 29357.19 | OOR > | 177393.55 | 41301.38 | 36560.07 | 30329.68 | 5168.06 | 36437.05 | OOR > | OOR >
S2 | B1,B2,B3 | Reagent Name: Standard2 | 6628.51 | 6033.94 | 31546.14 | 7152.66 | 7830.74 | 7633.91 | 1075.49 | 8492.89 | 18213.08 | 21949.3
S3 | C1,C2,C3 | Reagent Name: Standard3 | 1840.47 | 2942.31 | 9042.98 | 1989.31 | 2076.65 | 1843.64 | 304.97 | 2192.69 | 8284.22 | 13791.04
S4 | D1,D2,D3 | Reagent Name: Standard4 | 427.85 | 837.65 | 2159.94 | 459.6 | 514 | 496.84 | 73.89 | 547.23 | 2669.9 | 3019.61
S5 | E1,E2,E3 | Reagent Name: Standard5 | 107.58 | 199.48 | 547.44 | 118.57 | 126.02 | 113 | 17.98 | 135.57 | 579.38 | 739.17
S6 | F1,F2,F3 | Reagent Name: Standard6 | 29.4 | 52.34 | 137.03 | 33.2 | 32.75 | 30.84 | 4.69 | 34.2 | 150.71 | 206.46
S7 | G1,G2,G3 | Reagent Name: Standard7 | 5.97 | 12.13 | 33.82 | 5.71 | 7.88 | 7.2 | 1.12 | 8.51 | 37.16 | 42.27
X1 | A4,A5,A6 | Sample ID: Unknown1 | 87.92 | 13.63 | 1668.42 | OOR < | OOR < | 58.89 | 54.55 | 1325.15 | 321.34 | *21.28
X2 | B4,B5,B6 | Sample ID: Unknown2 | 561.12 | 172.4 | 1624.11 | 6.33 | 54.69 | 377.41 | 3976.27 | 1488.6 | 464.51 | 210.66
X3 | C4,C5,C6 | Sample ID: Unknown3 | 507.71 | 220.25 | 2596.14 | *2.38 | 177.11 | 345.58 | 4676.47 | 1839.46 | 481.56 | 175.82
X4 | D4,D5,D6 | Sample ID: Unknown4 | 224.21 | 71.31 | 2403.43 | OOR < | 33.53 | 164.26 | 4636.86 | 1674.15 | 432.52 | 122.77
X5 | E4,E5,E6 | Sample ID: Unknown5 | 538.8 | 500.29 | 2519.92 | 11.25 | 344.26 | 346.94 | 4305.15 | 832.36 | 560.16 | 154.98
X6 | F4,F5,F6 | Sample ID: Unknown6 | 1162.96 | 1104.92 | 4472.49 | 28.21 | 1012.8 | 685.27 | 4685.89 | 1217.65 | 712.16 | 256.32
X7 | A7,A8,A9 | Sample ID: Unknown7 | 124.43 | 25.36 | 821.02 | OOR < | 39.4 | 92.95 | 46.46 | 2928.7 | 413.2 | *1.21
X8 | B7,B8,B9 | Sample ID: Unknown8 | 460.46 | 98.29 | 1782.9 | 13.04 | 359.15 | 295.44 | 4184.74 | 2217.46 | 786.68 | 141.04
X9 | C7,C8,C9 | Sample ID: Unknown9 | 564.16 | 141.05 | 1928.31 | 15.06 | 393.99 | 360.48 | 4841.16 | 1686.58 | 705.73 | 142.55
X10 | D7,D8,D9 | Sample ID: Unknown10 | 293.85 | 72.45 | 918.42 | OOR < | 146.4 | 201.01 | 3852.5 | 1604.88 | 670.51 | 98.23
X11 | E7,E8,E9 | Sample ID: Unknown11 | 738.85 | 201.39 | 2190.61 | 11.08 | 498.72 | 454.86 | 4242.3 | 1455.78 | 808.48 | 174.61
X12 | F7,F8,F9 | Sample ID: Unknown12 | 266.72 | 84.53 | 951.49 | 5.71 | 179.94 | 175.83 | 4244.38 | 1665.59 | 652.49 | 90.83
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc | Obs Conc
B | H1 | Reagent Name: Background0
B | H2 | Reagent Name: Background0
B | H3 | Reagent Name: Background0
S1 | A1 | Reagent Name: Standard1 | *42719.84 | OOR > | 173970.18 | *69630.68 | *101855.67 | *36617.14 | 3625.66 | *66121.90 | OOR > | OOR >
S1 | A2 | Reagent Name: Standard1 | 25905.08 | 30788.36 | 155816.38 | 22310.03 | 27418.86 | 30264.69 | *6509.58 | 28172.06 | OOR > | 163340.51
S1 | A3 | Reagent Name: Standard1 | 24044.74 | OOR > | *210530.71 | OOR > | 28348.23 | 25294.36 | *6128.46 | 30338.33 | OOR > | OOR >
S2 | B1 | Reagent Name: Standard2 | 7160.83 | 5768.06 | 28983.45 | 8269.04 | 11191.63 | 7909.6 | 1342.56 | 9009.11 | 18454.44 | 39955.39
S2 | B2 | Reagent Name: Standard2 | 7152.86 | 5920.71 | 30943.81 | 8012.29 | 8432.01 | 8779.86 | 1092.52 | 8943.49 | 21483.17 | 21667.71
S2 | B3 | Reagent Name: Standard2 | 5683.03 | 6466.31 | 35219.43 | 5688.45 | 5497.43 | 6385.44 | 854.3 | 7638.57 | 15544.79 | 15406.95
S3 | C1 | Reagent Name: Standard3 | 1902.71 | 2788.83 | 8849.87 | 2128.55 | 2311.86 | 2004.91 | 344.86 | 2258.01 | 6595.02 | 13615.35
S3 | C2 | Reagent Name: Standard3 | 2076.4 | 3491.58 | 9461.94 | 2386.13 | 2557.32 | 2092.47 | 351.41 | 2834.86 | 9152.54 | 17503.35
S3 | C3 | Reagent Name: Standard3 | 1557.73 | 2678.08 | 8831.04 | 1481.98 | 1483.68 | 1469.81 | 230.43 | 1663.55 | 9685.09 | 11377.24
S4 | D1 | Reagent Name: Standard4 | 453.24 | 986.64 | 2237.72 | 530.16 | 574.4 | 512.41 | 80.81 | 583.32 | 2598.96 | 2982.13
S4 | D2 | Reagent Name: Standard4 | 448.82 | 926.88 | 2261.07 | 521.04 | 578.16 | 552.82 | 84.68 | 567.07 | 2733.29 | 2955.78
S4 | D3 | Reagent Name: Standard4 | 381.34 | 635.75 | 1982.8 | 318.48 | 390.64 | 427.76 | 56.82 | 494.08 | 2679.71 | 3122.01
S5 | E1 | Reagent Name: Standard5 | 104.19 | 222.46 | 620.15 | 123.95 | 131.88 | 125.32 | 20.39 | 133.3 | 583.6 | 695.08
S5 | E2 | Reagent Name: Standard5 | 120.6 | 223.3 | 516.61 | 135.99 | 143.74 | 114.69 | 19.15 | 154.59 | 572.42 | 763.88
S5 | E3 | Reagent Name: Standard5 | 97.69 | 149.96 | 503.97 | 94.45 | 101.75 | 99.13 | 14.27 | 119.62 | 582.17 | 758.58
S6 | F1 | Reagent Name: Standard6 | 32.35 | 57.18 | 141.15 | 27.97 | 39.29 | 35.36 | 5.12 | 40.47 | 158.37 | 198.07
S6 | F2 | Reagent Name: Standard6 | 27.85 | 61.1 | 134.96 | 36.05 | 33.78 | 34.27 | 5.4 | 36.76 | 162.54 | 183.65
S6 | F3 | Reagent Name: Standard6 | 27.93 | 37.22 | 134.96 | 35.37 | 24.78 | 22.83 | 3.46 | 25.76 | 131.34 | 237.55
S7 | G1 | Reagent Name: Standard7 | *3.68 | 16 | 37.16 | *1.11 | *5.64 | *5.48 | 1.23 | *7.84 | *29.59 | *18.31
S7 | G2 | Reagent Name: Standard7 | 11.29 | *5.08 | 41.98 | *3.68 | 7.98 | 7.68 | *0.85 | 8.74 | 37.52 | 62.51
S7 | G3 | Reagent Name: Standard7 | *1.72 | 13.82 | *20.92 | 10.75 | 9.88 | 8.4 | 1.26 | 8.96 | 44.08 | 45.46
X1 | A4 | Sample ID: Unknown1 | 75.43 | *9.50 | 1678.93 | OOR < | OOR < | 54.04 | 54.22 | 1220.42 | 313.08 | *29.10
X1 | A5 | Sample ID: Unknown1 | 81.64 | 16.7 | 1705.19 | OOR < | OOR < | 59.32 | 53.33 | 1454.22 | 313.9 | 53.06
X1 | A6 | Sample ID: Unknown1 | 106.05 | 14.2 | 1621.2 | OOR < | OOR < | 63.3 | 56.11 | 1310.8 | 337.23 | OOR <
X2 | B4 | Sample ID: Unknown2 | 468.85 | 167.84 | 1550.62 | *2.09 | 47.11 | 352.93 | 1993.27 | 1071.09 | 427.98 | 264.35
X2 | B5 | Sample ID: Unknown2 | 557.63 | 174.45 | 1694.05 | 10.75 | 57.89 | 379.94 | 5154.35 | 1605.73 | 485.8 | 202.57
X2 | B6 | Sample ID: Unknown2 | 657.29 | 174.87 | 1627.81 | *5.07 | 58.89 | 399.73 | *7384.82 | 1916.82 | 480.88 | 164.66
X3 | C4 | Sample ID: Unknown3 | 470.8 | 211.51 | 2487.9 | OOR < | 170.15 | 336.71 | 4678.71 | 1869.37 | 476.47 | 160.13
X3 | C5 | Sample ID: Unknown3 | 504.35 | 234.11 | 2760.38 | OOR < | 172.72 | 352.93 | 4288.57 | 2037.49 | 465.88 | 210.66
X3 | C6 | Sample ID: Unknown3 | 547.98 | 214.95 | 2542.16 | 12.72 | 188.38 | 347.16 | 5114.22 | 1635.7 | 502.74 | 156.5
X4 | D4 | Sample ID: Unknown4 | 220.72 | 65.26 | 2374.34 | *1.11 | 31.65 | 160.18 | 4288.57 | 1685.69 | 398.89 | 84.95
X4 | D5 | Sample ID: Unknown4 | 219.63 | 77.09 | 2374.89 | *5.07 | 35.15 | 168.69 | 4640.32 | 1655.68 | 466.94 | 136.48
X4 | D6 | Sample ID: Unknown4 | 232.25 | 71.37 | 2461.29 | OOR < | 33.78 | 163.92 | 5023.28 | 1681.26 | 433 | 146.5
X5 | E4 | Sample ID: Unknown5 | 503.22 | 483.93 | 2441.44 | *1.11 | 312.94 | 335.7 | 3312.41 | 807.6 | 535.23 | 171
X5 | E5 | Sample ID: Unknown5 | 545.46 | 497.32 | 2539.91 | 14.6 | 358.56 | 351.64 | 4540.98 | 815.32 | 560.95 | 146.5
X5 | E6 | Sample ID: Unknown5 | 567.75 | 519.8 | 2578.87 | 15.51 | 361.2 | 353.55 | *5449.23 | 875.48 | 584.97 | 147.41
X6 | F4 | Sample ID: Unknown6 | 1032.97 | 1056.25 | 4605.32 | 25.35 | 894.3 | 682.89 | 3314.57 | 1086.7 | 681.44 | 302.62
X6 | F5 | Sample ID: Unknown6 | 1138.31 | 1077.2 | 4545.6 | 27.23 | 963.1 | 652.84 | 4447.91 | 1149.35 | 742.59 | 226.8
X6 | F6 | Sample ID: Unknown6 | 1321.91 | 1186.6 | 4270.48 | 31.92 | 1189.17 | 720.68 | *7516.91 | 1443.56 | 713.39 | 239.34
X7 | A7 | Sample ID: Unknown7 | 124.51 | 22.28 | 825.51 | OOR < | 38.03 | 94.56 | 48.99 | 3168.95 | 397.32 | *16.32
X7 | A8 | Sample ID: Unknown7 | 134.57 | 32.42 | 784.14 | *5.07 | 41.59 | 97.7 | 45.58 | 3509.86 | 439.41 | OOR <
X7 | A9 | Sample ID: Unknown7 | 114.05 | 20.61 | 853.2 | OOR < | 38.57 | 86.62 | 44.84 | 2285.26 | 403.43 | OOR <
X8 | B7 | Sample ID: Unknown8 | 466.33 | 98.78 | 1843.88 | 11.75 | 355.41 | 281.71 | 3672.66 | 2209.43 | 819.53 | 154.68
X8 | B8 | Sample ID: Unknown8 | 450.21 | 108.1 | 1786 | 15.51 | 371.27 | 307.33 | 4300.99 | 2315.51 | 796.14 | 156.5
X8 | B9 | Sample ID: Unknown8 | 464.84 | 87.53 | 1718.99 | 11.75 | 350.78 | 297.39 | 4668.35 | 2131.82 | 745.76 | 111.75
X9 | C7 | Sample ID: Unknown9 | 575 | 141.56 | 2026.77 | 21.84 | 416.8 | 394.47 | 4692.93 | 1776.42 | 683.08 | 156.5
X9 | C8 | Sample ID: Unknown9 | 547.56 | 151.34 | 1923.93 | 12.72 | 395.9 | 359.07 | *5444.86 | 1800.17 | 742.4 | 145.59
X9 | C9 | Sample ID: Unknown9 | 569.91 | 129.95 | 1834.8 | 9.71 | 369.27 | 328.63 | 4461.28 | 1500.93 | 692.73 | 125.51
X10 | D7 | Sample ID: Unknown10 | 299.54 | 75.26 | 930.96 | OOR < | 148.72 | 206.98 | 3482.55 | 1585.5 | 689.91 | 87.74
X10 | D8 | Sample ID: Unknown10 | 287.14 | 71.88 | 914.71 | OOR < | 147.5 | 197.04 | 3834.72 | 1628.79 | 669.97 | 71.89
X10 | D9 | Sample ID: Unknown10 | 294.85 | 70.17 | 909.56 | OOR < | 142.98 | 199.03 | 4300.99 | 1600.66 | 652.02 | 134.65
X11 | E7 | Sample ID: Unknown11 | 697.57 | 199.73 | 2289.15 | 13.2 | 496.26 | 459.09 | 3848.1 | 1529.71 | 808.59 | 201.67
X11 | E8 | Sample ID: Unknown11 | 746.18 | 214.33 | 2191.43 | 9.71 | 507.54 | 481.91 | 4316.59 | 1451.16 | 828.33 | 156.5
X11 | E9 | Sample ID: Unknown11 | 772.99 | 189.9 | 2092.02 | 10.23 | 492.35 | 424.12 | 4612.69 | 1389.82 | 788.88 | 165.56
X12 | F7 | Sample ID: Unknown12 | 254.49 | 88.31 | 952.84 | *4.39 | 178.58 | 175.87 | 4184.74 | 1549.17 | 683.2 | 116.35
X12 | F8 | Sample ID: Unknown12 | 268.42 | 87.99 | 952.03 | 10.75 | 184.68 | 168.14 | 4717.86 | 1788.69 | 658.22 | 65.33
X12 | F9 | Sample ID: Unknown12 | 277.19 | 77.09 | 949.6 | OOR < | 176.54 | 183.51 | 3888.4 | 1667.94 | 617.2 | 90.52
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Exp Conc
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc
B | H1,H2,H3 | Reagent Name: Background0
S1 | A1,A2,A3 | Reagent Name: Standard1 | 28000 | 52100 | 139800 | 30500 | 32800 | 30300 | 4700 | 34900 | 152800 | 194700
S2 | B1,B2,B3 | Reagent Name: Standard2 | 7000 | 13025 | 34950 | 7625 | 8200 | 7575 | 1175 | 8725 | 38200 | 48675
S3 | C1,C2,C3 | Reagent Name: Standard3 | 1750 | 3256.25 | 8737.5 | 1906.25 | 2050 | 1893.75 | 293.75 | 2181.25 | 9550 | 12168.75
S4 | D1,D2,D3 | Reagent Name: Standard4 | 437.5 | 814.06 | 2184.38 | 476.56 | 512.5 | 473.44 | 73.44 | 545.31 | 2387.5 | 3042.19
S5 | E1,E2,E3 | Reagent Name: Standard5 | 109.38 | 203.52 | 546.09 | 119.14 | 128.13 | 118.36 | 18.36 | 136.33 | 596.88 | 760.55
S6 | F1,F2,F3 | Reagent Name: Standard6 | 27.34 | 50.88 | 136.52 | 29.79 | 32.03 | 29.59 | 4.59 | 34.08 | 149.22 | 190.14
S7 | G1,G2,G3 | Reagent Name: Standard7 | 6.84 | 12.72 | 34.13 | 7.45 | 8.01 | 7.4 | 1.15 | 8.52 | 37.3 | 47.53
X1 | A4,A5,A6 | Sample ID: Unknown1
X2 | B4,B5,B6 | Sample ID: Unknown2
X3 | C4,C5,C6 | Sample ID: Unknown3
X4 | D4,D5,D6 | Sample ID: Unknown4
X5 | E4,E5,E6 | Sample ID: Unknown5
X6 | F4,F5,F6 | Sample ID: Unknown6
X7 | A7,A8,A9 | Sample ID: Unknown7
X8 | B7,B8,B9 | Sample ID: Unknown8
X9 | C7,C8,C9 | Sample ID: Unknown9
X10 | D7,D8,D9 | Sample ID: Unknown10
X11 | E7,E8,E9 | Sample ID: Unknown11
X12 | F7,F8,F9 | Sample ID: Unknown12
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc | Exp Conc
B | H1 | Reagent Name: Background0
B | H2 | Reagent Name: Background0
B | H3 | Reagent Name: Background0
S1 | A1 | Reagent Name: Standard1 | 28000 | 52100 | 139800 | 30500 | 32800 | 30300 | 4700 | 34900 | 152800 | 194700
S1 | A2 | Reagent Name: Standard1 | 28000 | 52100 | 139800 | 30500 | 32800 | 30300 | 4700 | 34900 | 152800 | 194700
S1 | A3 | Reagent Name: Standard1 | 28000 | 52100 | 139800 | 30500 | 32800 | 30300 | 4700 | 34900 | 152800 | 194700
S2 | B1 | Reagent Name: Standard2 | 7000 | 13025 | 34950 | 7625 | 8200 | 7575 | 1175 | 8725 | 38200 | 48675
S2 | B2 | Reagent Name: Standard2 | 7000 | 13025 | 34950 | 7625 | 8200 | 7575 | 1175 | 8725 | 38200 | 48675
S2 | B3 | Reagent Name: Standard2 | 7000 | 13025 | 34950 | 7625 | 8200 | 7575 | 1175 | 8725 | 38200 | 48675
S3 | C1 | Reagent Name: Standard3 | 1750 | 3256.25 | 8737.5 | 1906.25 | 2050 | 1893.75 | 293.75 | 2181.25 | 9550 | 12168.75
S3 | C2 | Reagent Name: Standard3 | 1750 | 3256.25 | 8737.5 | 1906.25 | 2050 | 1893.75 | 293.75 | 2181.25 | 9550 | 12168.75
S3 | C3 | Reagent Name: Standard3 | 1750 | 3256.25 | 8737.5 | 1906.25 | 2050 | 1893.75 | 293.75 | 2181.25 | 9550 | 12168.75
S4 | D1 | Reagent Name: Standard4 | 437.5 | 814.06 | 2184.38 | 476.56 | 512.5 | 473.44 | 73.44 | 545.31 | 2387.5 | 3042.19
S4 | D2 | Reagent Name: Standard4 | 437.5 | 814.06 | 2184.38 | 476.56 | 512.5 | 473.44 | 73.44 | 545.31 | 2387.5 | 3042.19
S4 | D3 | Reagent Name: Standard4 | 437.5 | 814.06 | 2184.38 | 476.56 | 512.5 | 473.44 | 73.44 | 545.31 | 2387.5 | 3042.19
S5 | E1 | Reagent Name: Standard5 | 109.38 | 203.52 | 546.09 | 119.14 | 128.13 | 118.36 | 18.36 | 136.33 | 596.88 | 760.55
S5 | E2 | Reagent Name: Standard5 | 109.38 | 203.52 | 546.09 | 119.14 | 128.13 | 118.36 | 18.36 | 136.33 | 596.88 | 760.55
S5 | E3 | Reagent Name: Standard5 | 109.38 | 203.52 | 546.09 | 119.14 | 128.13 | 118.36 | 18.36 | 136.33 | 596.88 | 760.55
S6 | F1 | Reagent Name: Standard6 | 27.34 | 50.88 | 136.52 | 29.79 | 32.03 | 29.59 | 4.59 | 34.08 | 149.22 | 190.14
S6 | F2 | Reagent Name: Standard6 | 27.34 | 50.88 | 136.52 | 29.79 | 32.03 | 29.59 | 4.59 | 34.08 | 149.22 | 190.14
S6 | F3 | Reagent Name: Standard6 | 27.34 | 50.88 | 136.52 | 29.79 | 32.03 | 29.59 | 4.59 | 34.08 | 149.22 | 190.14
S7 | G1 | Reagent Name: Standard7 | 6.84 | 12.72 | 34.13 | 7.45 | 8.01 | 7.4 | 1.15 | 8.52 | 37.3 | 47.53
S7 | G2 | Reagent Name: Standard7 | 6.84 | 12.72 | 34.13 | 7.45 | 8.01 | 7.4 | 1.15 | 8.52 | 37.3 | 47.53
S7 | G3 | Reagent Name: Standard7 | 6.84 | 12.72 | 34.13 | 7.45 | 8.01 | 7.4 | 1.15 | 8.52 | 37.3 | 47.53
X1 | A4 | Sample ID: Unknown1
X1 | A5 | Sample ID: Unknown1
X1 | A6 | Sample ID: Unknown1
X2 | B4 | Sample ID: Unknown2
X2 | B5 | Sample ID: Unknown2
X2 | B6 | Sample ID: Unknown2
X3 | C4 | Sample ID: Unknown3
X3 | C5 | Sample ID: Unknown3
X3 | C6 | Sample ID: Unknown3
X4 | D4 | Sample ID: Unknown4
X4 | D5 | Sample ID: Unknown4
X4 | D6 | Sample ID: Unknown4
X5 | E4 | Sample ID: Unknown5
X5 | E5 | Sample ID: Unknown5
X5 | E6 | Sample ID: Unknown5
X6 | F4 | Sample ID: Unknown6
X6 | F5 | Sample ID: Unknown6
X6 | F6 | Sample ID: Unknown6
X7 | A7 | Sample ID: Unknown7
X7 | A8 | Sample ID: Unknown7
X7 | A9 | Sample ID: Unknown7
X8 | B7 | Sample ID: Unknown8
X8 | B8 | Sample ID: Unknown8
X8 | B9 | Sample ID: Unknown8
X9 | C7 | Sample ID: Unknown9
X9 | C8 | Sample ID: Unknown9
X9 | C9 | Sample ID: Unknown9
X10 | D7 | Sample ID: Unknown10
X10 | D8 | Sample ID: Unknown10
X10 | D9 | Sample ID: Unknown10
X11 | E7 | Sample ID: Unknown11
X11 | E8 | Sample ID: Unknown11
X11 | E9 | Sample ID: Unknown11
X12 | F7 | Sample ID: Unknown12
X12 | F8 | Sample ID: Unknown12
X12 | F9 | Sample ID: Unknown12
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## (Obs Exp) X 100
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100
B | H1,H2,H3 | Reagent Name: Background0
S1 | A1,A2,A3 | Reagent Name: Standard1 | 105 | *** | 127 | 135 | 111 | 100 | 110 | 104 | *** | ***
S2 | B1,B2,B3 | Reagent Name: Standard2 | 95 | 46 | 90 | 94 | 95 | 101 | 92 | 97 | 48 | 45
S3 | C1,C2,C3 | Reagent Name: Standard3 | 105 | 90 | 103 | 104 | 101 | 97 | 104 | 101 | 87 | 113
S4 | D1,D2,D3 | Reagent Name: Standard4 | 98 | 103 | 99 | 96 | 100 | 105 | 101 | 100 | 112 | 99
S5 | E1,E2,E3 | Reagent Name: Standard5 | 98 | 98 | 100 | 100 | 98 | 95 | 98 | 99 | 97 | 97
S6 | F1,F2,F3 | Reagent Name: Standard6 | 108 | 103 | 100 | 111 | 102 | 104 | 102 | 100 | 101 | 109
S7 | G1,G2,G3 | Reagent Name: Standard7 | 87 | 95 | 99 | 77 | 98 | 97 | 98 | 100 | 100 | 89
X1 | A4,A5,A6 | Sample ID: Unknown1
X2 | B4,B5,B6 | Sample ID: Unknown2
X3 | C4,C5,C6 | Sample ID: Unknown3
X4 | D4,D5,D6 | Sample ID: Unknown4
X5 | E4,E5,E6 | Sample ID: Unknown5
X6 | F4,F5,F6 | Sample ID: Unknown6
X7 | A7,A8,A9 | Sample ID: Unknown7
X8 | B7,B8,B9 | Sample ID: Unknown8
X9 | C7,C8,C9 | Sample ID: Unknown9
X10 | D7,D8,D9 | Sample ID: Unknown10
X11 | E7,E8,E9 | Sample ID: Unknown11
X12 | F7,F8,F9 | Sample ID: Unknown12
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100 | (Obs/Exp) * 100
B | H1 | Reagent Name: Background0
B | H2 | Reagent Name: Background0
B | H3 | Reagent Name: Background0
S1 | A1 | Reagent Name: Standard1 | 153 | *** | 124 | 228 | 311 | 121 | 77 | 189 | *** | ***
S1 | A2 | Reagent Name: Standard1 | 93 | 59 | 111 | 73 | 84 | 100 | 139 | 81 | *** | 84
S1 | A3 | Reagent Name: Standard1 | 86 | *** | 151 | *** | 86 | 83 | 130 | 87 | *** | ***
S2 | B1 | Reagent Name: Standard2 | 102 | 44 | 83 | 108 | 136 | 104 | 114 | 103 | 48 | 82
S2 | B2 | Reagent Name: Standard2 | 102 | 45 | 89 | 105 | 103 | 116 | 93 | 103 | 56 | 45
S2 | B3 | Reagent Name: Standard2 | 81 | 50 | 101 | 75 | 67 | 84 | 73 | 88 | 41 | 32
S3 | C1 | Reagent Name: Standard3 | 109 | 86 | 101 | 112 | 113 | 106 | 117 | 104 | 69 | 112
S3 | C2 | Reagent Name: Standard3 | 119 | 107 | 108 | 125 | 125 | 110 | 120 | 130 | 96 | 144
S3 | C3 | Reagent Name: Standard3 | 89 | 82 | 101 | 78 | 72 | 78 | 78 | 76 | 101 | 93
S4 | D1 | Reagent Name: Standard4 | 104 | 121 | 102 | 111 | 112 | 108 | 110 | 107 | 109 | 98
S4 | D2 | Reagent Name: Standard4 | 103 | 114 | 104 | 109 | 113 | 117 | 115 | 104 | 114 | 97
S4 | D3 | Reagent Name: Standard4 | 87 | 78 | 91 | 67 | 76 | 90 | 77 | 91 | 112 | 103
S5 | E1 | Reagent Name: Standard5 | 95 | 109 | 114 | 104 | 103 | 106 | 111 | 98 | 98 | 91
S5 | E2 | Reagent Name: Standard5 | 110 | 110 | 95 | 114 | 112 | 97 | 104 | 113 | 96 | 100
S5 | E3 | Reagent Name: Standard5 | 89 | 74 | 92 | 79 | 79 | 84 | 78 | 88 | 98 | 100
S6 | F1 | Reagent Name: Standard6 | 118 | 112 | 103 | 94 | 123 | 119 | 111 | 119 | 106 | 104
S6 | F2 | Reagent Name: Standard6 | 102 | 120 | 99 | 121 | 105 | 116 | 118 | 108 | 109 | 97
S6 | F3 | Reagent Name: Standard6 | 102 | 73 | 99 | 119 | 77 | 77 | 75 | 76 | 88 | 125
S7 | G1 | Reagent Name: Standard7 | 54 | 126 | 109 | 15 | 70 | 74 | 107 | 92 | 79 | 39
S7 | G2 | Reagent Name: Standard7 | 165 | 40 | 123 | 49 | 100 | 104 | 74 | 103 | 101 | 132
S7 | G3 | Reagent Name: Standard7 | 25 | 109 | 61 | 144 | 123 | 113 | 110 | 105 | 118 | 96
X1 | A4 | Sample ID: Unknown1
X1 | A5 | Sample ID: Unknown1
X1 | A6 | Sample ID: Unknown1
X2 | B4 | Sample ID: Unknown2
X2 | B5 | Sample ID: Unknown2
X2 | B6 | Sample ID: Unknown2
X3 | C4 | Sample ID: Unknown3
X3 | C5 | Sample ID: Unknown3
X3 | C6 | Sample ID: Unknown3
X4 | D4 | Sample ID: Unknown4
X4 | D5 | Sample ID: Unknown4
X4 | D6 | Sample ID: Unknown4
X5 | E4 | Sample ID: Unknown5
X5 | E5 | Sample ID: Unknown5
X5 | E6 | Sample ID: Unknown5
X6 | F4 | Sample ID: Unknown6
X6 | F5 | Sample ID: Unknown6
X6 | F6 | Sample ID: Unknown6
X7 | A7 | Sample ID: Unknown7
X7 | A8 | Sample ID: Unknown7
X7 | A9 | Sample ID: Unknown7
X8 | B7 | Sample ID: Unknown8
X8 | B8 | Sample ID: Unknown8
X8 | B9 | Sample ID: Unknown8
X9 | C7 | Sample ID: Unknown9
X9 | C8 | Sample ID: Unknown9
X9 | C9 | Sample ID: Unknown9
X10 | D7 | Sample ID: Unknown10
X10 | D8 | Sample ID: Unknown10
X10 | D9 | Sample ID: Unknown10
X11 | E7 | Sample ID: Unknown11
X11 | E8 | Sample ID: Unknown11
X11 | E9 | Sample ID: Unknown11
X12 | F7 | Sample ID: Unknown12
X12 | F8 | Sample ID: Unknown12
X12 | F9 | Sample ID: Unknown12
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Dilution
File Name: C:\RBX_Files\New Batch 2_20190711_132545.rbx
Acquisition Date: 11-Jul-2019, 01:05 AM
Reader Serial Number: FM3DD18260022
Plate ID:
RP1 PMT (Volts): 555.09
RP1 Target: NA
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution
B | H1,H2,H3 | Reagent Name: Background0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S1 | A1,A2,A3 | Reagent Name: Standard1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S2 | B1,B2,B3 | Reagent Name: Standard2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S3 | C1,C2,C3 | Reagent Name: Standard3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S4 | D1,D2,D3 | Reagent Name: Standard4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S5 | E1,E2,E3 | Reagent Name: Standard5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S6 | F1,F2,F3 | Reagent Name: Standard6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S7 | G1,G2,G3 | Reagent Name: Standard7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X1 | A4,A5,A6 | Sample ID: Unknown1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X2 | B4,B5,B6 | Sample ID: Unknown2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X3 | C4,C5,C6 | Sample ID: Unknown3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X4 | D4,D5,D6 | Sample ID: Unknown4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X5 | E4,E5,E6 | Sample ID: Unknown5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X6 | F4,F5,F6 | Sample ID: Unknown6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X7 | A7,A8,A9 | Sample ID: Unknown7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | B7,B8,B9 | Sample ID: Unknown8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X9 | C7,C8,C9 | Sample ID: Unknown9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X10 | D7,D8,D9 | Sample ID: Unknown10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X11 | E7,E8,E9 | Sample ID: Unknown11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X12 | F7,F8,F9 | Sample ID: Unknown12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | ENA-78 (55) | G-CSF/CSF-3 (42) | IL-1RA (38) | IL-5 (21) | IL-6 (25) | IL-9 (52) | Ip10 (22) | MMP1 (64) | Nectin-2 (29) | VEGF-R1 (53)
Type | Well | Description | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution | Dilution
B | H1 | Reagent Name: Background0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
B | H2 | Reagent Name: Background0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
B | H3 | Reagent Name: Background0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S1 | A1 | Reagent Name: Standard1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S1 | A2 | Reagent Name: Standard1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S1 | A3 | Reagent Name: Standard1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S2 | B1 | Reagent Name: Standard2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S2 | B2 | Reagent Name: Standard2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S2 | B3 | Reagent Name: Standard2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S3 | C1 | Reagent Name: Standard3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S3 | C2 | Reagent Name: Standard3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S3 | C3 | Reagent Name: Standard3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S4 | D1 | Reagent Name: Standard4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S4 | D2 | Reagent Name: Standard4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S4 | D3 | Reagent Name: Standard4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S5 | E1 | Reagent Name: Standard5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S5 | E2 | Reagent Name: Standard5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S5 | E3 | Reagent Name: Standard5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S6 | F1 | Reagent Name: Standard6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S6 | F2 | Reagent Name: Standard6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S6 | F3 | Reagent Name: Standard6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S7 | G1 | Reagent Name: Standard7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S7 | G2 | Reagent Name: Standard7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
S7 | G3 | Reagent Name: Standard7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X1 | A4 | Sample ID: Unknown1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X1 | A5 | Sample ID: Unknown1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X1 | A6 | Sample ID: Unknown1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X2 | B4 | Sample ID: Unknown2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X2 | B5 | Sample ID: Unknown2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X2 | B6 | Sample ID: Unknown2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X3 | C4 | Sample ID: Unknown3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X3 | C5 | Sample ID: Unknown3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X3 | C6 | Sample ID: Unknown3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X4 | D4 | Sample ID: Unknown4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X4 | D5 | Sample ID: Unknown4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X4 | D6 | Sample ID: Unknown4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X5 | E4 | Sample ID: Unknown5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X5 | E5 | Sample ID: Unknown5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X5 | E6 | Sample ID: Unknown5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X6 | F4 | Sample ID: Unknown6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X6 | F5 | Sample ID: Unknown6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X6 | F6 | Sample ID: Unknown6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X7 | A7 | Sample ID: Unknown7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X7 | A8 | Sample ID: Unknown7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X7 | A9 | Sample ID: Unknown7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | B7 | Sample ID: Unknown8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | B8 | Sample ID: Unknown8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | B9 | Sample ID: Unknown8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X9 | C7 | Sample ID: Unknown9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X9 | C8 | Sample ID: Unknown9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X9 | C9 | Sample ID: Unknown9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X10 | D7 | Sample ID: Unknown10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X10 | D8 | Sample ID: Unknown10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X10 | D9 | Sample ID: Unknown10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X11 | E7 | Sample ID: Unknown11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X11 | E8 | Sample ID: Unknown11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X11 | E9 | Sample ID: Unknown11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X12 | F7 | Sample ID: Unknown12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X12 | F8 | Sample ID: Unknown12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X12 | F9 | Sample ID: Unknown12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
*** = Value not available; --- = Designated as an outlier
*Value = Value extrapolated beyond standard range
OOR = Out of Range; OOR> = Out of Range Above; OOR< = Out of Range Below
Exp Conc = Expected Concentration; Obs Conc = Observed Concentration

## Standard Curve
Regression Type: Logistic - 5PL | Regression Type: Logistic - 5PL
Std. Curve: FI = 23.3701 + (87661.5 - 23.3701) / ((1 + (Conc / 4349.72)^-0.864848))^1.48915 | Std. Curve: FI = 20.6831 + (14585.1 - 20.6831) / ((1 + (Conc / 985.373)^-1.62408))^0.921757
FitProb. = 0.3643, ResVar. = 1.0099 | FitProb. = 0.2489, ResVar. = 1.3906
Regression Type: Logistic - 5PL | Regression Type: Logistic - 5PL
Std. Curve: FI = 27.5722 + (26636.4 - 27.5722) / ((1 + (Conc / 7112.31)^-1.0461))^1.31456 | Std. Curve: FI = 3.79244 + (25545.4 - 3.79244) / ((1 + (Conc / 4471.27)^-1.65034))^0.812267
FitProb. = 0.7188, ResVar. = 0.3302 | FitProb. = 0.2083, ResVar. = 1.5688
Regression Type: Logistic - 5PL | Regression Type: Logistic - 5PL
Std. Curve: FI = 40.6089 + (94192.5 - 40.6089) / ((1 + (Conc / 2632.26)^-1.14369))^1.0967 | Std. Curve: FI = 28.6611 + (118373 - 28.6611) / ((1 + (Conc / 2932.21)^-0.524779))^2.25616
FitProb. = 0.8383, ResVar. = 0.1763 | FitProb. = 0.4939, ResVar. = 0.7055
Regression Type: Logistic - 5PL | Regression Type: Logistic - 5PL
Std. Curve: FI = 51.7536 + (122446 - 51.7536) / ((1 + (Conc / 170.16)^-0.663036))^2.44377 | Std. Curve: FI = -169.314 + (102736 + 169.314) / ((1 + (Conc / 1447.13)^-0.848202))^1.00965
FitProb. = 0.5291, ResVar. = 0.6365 | FitProb. = 0.9873, ResVar. = 0.0128
Regression Type: Logistic - 5PL | Regression Type: Logistic - 5PL
Std. Curve: FI = 355.787 + (25190.8 - 355.787) / ((1 + (Conc / 793.598)^-0.888444))^1.51918 | Std. Curve: FI = 14.4773 + (5250.28 - 14.4773) / ((1 + (Conc / 8324.64)^-1.5175))^0.687266
FitProb. = 0.1889, ResVar. = 1.6668 | FitProb. = 0.0047, ResVar. = 5.3561